## SAFETY AUDIT checksheet 16
STPPL | Safety Audit Check Sheet |  |  |  | STPPL / HRA / FM / 16
REV. NO. 00
REV. DATE : 01.06.2007
Zone No. : __________ Auditee : _____________________ |  |  | Auditor(s) : ______________________________ Date : _______________
Check List |  | Yes | No | N/A | Comments
A | Safety Considerations
A1 | Is there a safety induction system for all new employees and visitors
A2 | Is there an up to date fire response plan
A3 | Is the fire response plan shared with all employee
A4 | Have adequate staff been designated and trained in fire fighting/emergency/response
A5 | Are fire drills conducted
A6
A7 | Are escape routes clearly marked being followed
A8 | Is emergency lighting provided
A9 | Is there a clearly marked assembly point at a safe distance from hazardous area
A10 | Is housing keeping good in storage areas; shop floor, access?
B | Reporting Systems
B1 | Is the Near Miss Reporting System being followed
B2 | Is the Incident Reporting System being followed
C | Work permit system used
C1 | Work permit system employed when guard is to be removed for maintenance removed for maintenance operation
C2 | Is There sufficient display of safety instructions, warning, escape routes, etc - suggest any particular / additional display required.
C3 | JSA Conducted (Job safety analysis)
C4 | Mitigation of near miss, JSA finding Safety meeting suggestions etc carried out and recorded
C5 | Noise status
C6 | Is process waste under control
D | RECORDS
D1 | Is there a record of the fire drills/emergency response?
D2 | Record of work permits Issued
E | Machine & safety guards
E1 | Is the machine/equipment guards available
E2 | Is the machine/equipment guards is in working condition
E3 | Is the machine/equipment safety door available
E4 | Is the machine/equipment safety door in working condition
E5 | Is the moving parts mechanism having guard
E6 | Is the machine heaters covered
E7 | Is the safety guards firmly fixed to the machine/equipment
E8 | No tools used are worn out
E9 | No clamps are worn out
E10 | No worn out in nuts
E11 | No worn out in bolts
E12 | No worn out in spacers
E13 | No wornout on fixed/moving parts /loose/cracked
E14 | No noise /vibrations/sound observed
E15 | M/c drawing, manuals, etc readily available
F | Safety switches
F1 | Is the limit switch available
F2 | Is the limit switches in working condition
F3 | Is emergency switch available
F4 | Is emergency is in working condition
F5 | Does the machine/equipment stop when emergency switch is operated/depressed
F6 | Is the limit/distances set on safety door
F7 | Is the limit to be set documented
G | Material handling equipment
G1 | Is carrying capacity mentioned on pallet truck / trolley
G2 | Is crane capacity mentioned / marked on crane
G3 | Is the load carrying capacity tested
G4 | is the test certificate available
G5 | Is the testing frequency decided & documented
STPPL | Safety Audit Check Sheet |  |  |  | STPPL / HRA / FM / 16
REV. NO. 00
REV. DATE : 01.06.2007
Zone No. : __________ Auditee : _____________________ |  |  | Auditor(s) : ______________________________ Date : _______________
Check List |  | Yes | No | N/A | Comments
H | Electrical safety
H1 | Is the machine / equipment connected for earthling
H2 | No wire open in panel / distribution box
H3 | Is ON, OFF indication / position marked on switches
H4 | No material stored near / on panels/DB
H5 | No spark observed during machine operation/idle condition
H6 | Is wire joined firmly with connector
H7 | Is motor is connected to Earthing
H8 | Is ovens / dehumidifiers connected to earthling
H9 | No connector / switches open / naked / broken
H10 | LOTO system implemented (log out/tag out)
I | Fire fighting equipment
I 1 | Is the status of maintenance mentioned /marked on equipment
I 2 | Is the equipment accessible for maintenance / removal easily
I 3 | Is the list of equipment available in security office
I 4 | Is the fire fighting equipment fixed at 4 feet height
I 5 | Is the list of equipments documented
I 6 | Is the equipments available as per list
I 7 | Is the list of equipments adequate to meet emergency
J | Compressed air
J1 | Is pressure switch available & is in working condition
J2 | Is the pressure vessel tested and approved by agency for safety
J3 | Is the safety certificate available for pressure vessel
J4 | No leakage in pipe line
J5 | Is the compressor located away from work place
K | Chemical storage & handling
K1 | Is the chemical stored at decided location
K2 | Is the list of hazardous chemicals identified and documented
K3 | Is the procedure for handling hazardous chemicals displayed
K4 | Is rubber gloves used for handling chemicals
K5 | Is rubber gloves available
L | Communication
L1 | Is ONE POINT LESSON, KAIZEN done on accident(s)
L2 | Is One Point Lesson, Kaizen displayed on accident location
L3 | Is safety hooter available & in working condition
L4 | Is common communication facility available for conveying safety messages
M | Material storage
M1 | Is the size of pallet/trolley appropriate for material storage
M2 | Is the pallet loaded as per specified loading capacity
M3 | Is the material stored below red line
N | Training
N1 | Is training given to operators for EOT handling
N2 | Is the list of trained persons for fire fighting documented / displayed
N3 | Is training given to operators for EOT handling
N4 | Is training given to operators for machine operation
N5 | Is training given to operators for using safety tools
N6 | Is training given to operators for using tools safely
N7 | Is the training given to operators for handling hazardous chemicals
O | Gas cylinders
O1 | Is location decided / fixed for storage for filled/empty gas cylinders
O2 | Is the regulator in working condition
O3 | Is the regulator switched off when not in use
O4 | No leakage observed in storage, handling & use
P | General
P1 | No leakage/ spillage observed for water, oil, materials
P2 | No any leakage from roof
PREPARED BY : |  | APPROVED BY :

## Rev. 0
STPPL | Safety Audit Check Sheet |  |  |  | STPPL / HRA / FM / 16
REV. NO. 00
REV. DATE : 02.11.2020
Zone No. : __________ Auditee : _____________________ |  |  | Auditor(s) : ______________________________ Date : _______________
Check List |  | Yes | No | N/A | Comments
A | Safety Considerations
A1 | Is there a safety induction system for all new employees and visitors
A2 | Is there an up to date fire response plan
A3 | Is the fire response plan shared with all employee
A4 | Have adequate staff been designated and trained in fire fighting/emergency/response
A5 | Are fire drills conducted
A6 | Are escape routes clearly marked being followed
A7 | Is emergency lighting provided
A8 | Is there a clearly marked assembly point at a safe distance from hazardous area
A9 | Is housing keeping good in storage areas; shop floor, access?
B | Reporting Systems
B1 | Is the Near Miss Reporting System being followed
B2 | Is the Incident Reporting System being followed
C | Work permit system used
C1 | Work permit system employed when guard is to be removed for maintenance removed for maintenance operation
C2 | Is There sufficient display of safety instructions, warning, escape routes, etc - suggest any particular / additional display required.
C3 | JSA Conducted (Job safety analysis)
C4 | Mitigation of near miss, JSA finding Safety meeting suggestions etc carried out and recorded
C5 | Noise status
C6 | Is process waste under control
D | RECORDS
D1 | Is there a record of the fire drills/emergency response?
D2 | Record of work permits Issued
E | Machine & safety guards
E1 | Is the machine/equipment guards available
E2 | Is the machine/equipment guards is in working condition
E3 | Is the machine/equipment safety door available
E4 | Is the machine/equipment safety door in working condition
E5 | Is the moving parts mechanism having guard
E6 | Is the machine heaters covered
E7 | Is the safety guards firmly fixed to the machine/equipment
E8 | No tools used are worn out
E9 | No clamps are worn out
E10 | No worn out in nuts
E11 | No worn out in bolts
E12 | No worn out in spacers
E13 | No wornout on fixed/moving parts /loose/cracked
E14 | No noise /vibrations/sound observed
E15 | M/c drawing, manuals, etc readily available
F | Safety switches
F1 | Is the limit switch available
F2 | Is the limit switches in working condition
F3 | Is emergency switch available
F4 | Is emergency is in working condition
F5 | Does the machine/equipment stop when emergency switch is operated/depressed
F6 | Is the limit/distances set on safety door
F7 | Is the limit to be set documented
G | Material handling equipment
G1 | Is carrying capacity mentioned on pallet truck / trolley
G2 | Is crane capacity mentioned / marked on crane
G3 | Is the load carrying capacity tested
G4 | is the test certificate available
G5 | Is the testing frequency decided & documented
STPPL | Safety Audit Check Sheet |  |  |  | STPPL / HRA / FM / 16
REV. NO. 00
REV. DATE : 02.11.2020
Zone No. : __________ Auditee : _____________________ |  |  | Auditor(s) : ______________________________ Date : _______________
Check List |  | Yes | No | N/A | Comments
H | Electrical safety
H1 | Is the machine / equipment connected for earthling
H2 | No wire open in panel / distribution box
H3 | Is ON, OFF indication / position marked on switches
H4 | No material stored near / on panels/DB
H5 | No spark observed during machine operation/idle condition
H6 | Is wire joined firmly with connector
H7 | Is motor is connected to Earthing
H8 | Is ovens / dehumidifiers connected to earthling
H9 | No connector / switches open / naked / broken
H10 | LOTO system implemented (log out/tag out)
I | Fire fighting equipment
I 1 | Is the status of maintenance mentioned /marked on equipment
I 2 | Is the equipment accessible for maintenance / removal easily
I 3 | Is the list of equipment available in security office
I 4 | Is the fire fighting equipment fixed at 4 feet height
I 5 | Is the list of equipments documented
I 6 | Is the equipments available as per list
I 7 | Is the list of equipments adequate to meet emergency
J | Compressed air
J1 | Is pressure switch available & is in working condition
J2 | Is the pressure vessel tested and approved by agency for safety
J3 | Is the safety certificate available for pressure vessel
J4 | No leakage in pipe line
J5 | Is the compressor located away from work place
K | Chemical storage & handling
K1 | Is the chemical stored at decided location
K2 | Is the list of hazardous chemicals identified and documented
K3 | Is the procedure for handling hazardous chemicals displayed
K4 | Is rubber gloves used for handling chemicals
K5 | Is rubber gloves available
L | Communication
L1 | Is ONE POINT LESSON, KAIZEN done on accident(s)
L2 | Is One Point Lesson, Kaizen displayed on accident location
L3 | Is safety hooter available & in working condition
L4 | Is common communication facility available for conveying safety messages
M | Material storage
M1 | Is the size of pallet/trolley appropriate for material storage
M2 | Is the pallet loaded as per specified loading capacity
M3 | Is the material stored below red line
N | Training
N1 | Is training given to operators for EOT handling
N2 | Is the list of trained persons for fire fighting documented / displayed
N3 | Is training given to operators for EOT handling
N4 | Is training given to operators for machine operation
N5 | Is training given to operators for using safety tools
N6 | Is training given to operators for using tools safely
N7 | Is the training given to operators for handling hazardous chemicals
O | Gas cylinders
O1 | Is location decided / fixed for storage for filled/empty gas cylinders
O2 | Is the regulator in working condition
O3 | Is the regulator switched off when not in use
O4 | No leakage observed in storage, handling & use
P | General
P1 | No leakage/ spillage observed for water, oil, materials
P2 | No any leakage from roof
PREPARED BY : |  | APPROVED BY :

## Rev. 01
STPPL | Safety Audit Check Sheet |  |  |  |  | STPPL/HRA/FM/16
REV. NO. 01
REV. DATE : 02.06.2021
Zone No. : __________ Auditee : ____________________________________________ |  |  | Auditor(s) : ______________________________________________ Date : _______________
Check List |  | Yes | No | N/A | Observation details | Remarks
A | Safety Considerations
A1 | Is there a safety induction system for all new employees and visitors
A2 | Is there an up to date fire response plan
A3 | Is the fire response plan shared with all employee
A4 | Have adequate staff been designated and trained in fire fighting/emergency/response
A5 | Are fire drills conducted
A6 | Are escape routes clearly marked being followed
A7 | Is emergency lighting provided
A8 | Is there a clearly marked assembly point at a safe distance from hazardous area
A9 | Is housing keeping good in storage areas; shop floor, access?
B | Reporting Systems
B1 | Is the Near Miss Reporting System being followed
B2 | Is the Incident Reporting System being followed
C | Work permit system used
C1 | Work permit system employed when guard is to be removed for maintenance operation
C2 | Is there sufficient display of safety instructions, warning, escape routes, etc - suggest any particular / additional display required.
C3 | JSA Conducted (Job safety analysis)
C4 | Mitigation of near miss, JSA finding Safety meeting suggestions etc carried out and recorded
C5 | Noise status
C6 | Is process waste under control
D | RECORDS
D1 | Is there a record of the fire drills/emergency response?
D2 | Record of work permits Issued
E | Machine & safety guards
E1 | Is the machine/equipment guards available
E2 | Is the machine/equipment guards is in working condition
E3 | Is the machine/equipment safety door available
E4 | Is the machine/equipment safety door in working condition
E5 | Is the moving parts mechanism having guard
E6 | Is the machine heaters covered
E7 | Is the safety guards firmly fixed to the machine/equipment
E8 | No tools used are worn out
E9 | No clamps are worn out
E10 | No worn out in nuts
E11 | No worn out in bolts
E12 | No worn out in spacers
E13 | No wornout on fixed/moving parts /loose/cracked
E14 | No noise /vibrations/sound observed
E15 | M/c drawing, manuals, etc readily available
F | Safety switches
F1 | Is the limit switch available
F2 | Is the limit switches in working condition
F3 | Is emergency switch available
F4 | Is emergency is in working condition
F5 | Does the machine/equipment stop when emergency switch is operated/depressed
F6 | Is the limit/distances set on safety door
F7 | Is the limit to be set documented
G | Material handling equipment
G1 | Is carrying capacity mentioned on pallet truck / trolley
G2 | Is crane capacity mentioned / marked on crane
G3 | Is the load carrying capacity tested
G4 | is the test certificate available
G5 | Is the testing frequency decided & documented
H | Electrical safety
H1 | Is the machine / equipment connected for earthling
H2 | No wire open in panel / distribution box
H3 | Is ON, OFF indication / position marked on switches
H4 | No material stored near / on panels/DB
H5 | No spark observed during machine operation/idle condition
H6 | Is wire joined firmly with connector
H7 | Is motor is connected to Earthing
H8 | Is ovens / dehumidifiers connected to earthling
H9 | No connector / switches open / naked / broken
H10 | LOTO system implemented (log out/tag out)
I | Fire fighting equipment
I 1 | Is the status of maintenance mentioned /marked on equipment
I 2 | Is the equipment accessible for maintenance / removal easily
I 3 | Is the list of equipment available in security office
I 4 | Is the fire fighting equipment fixed at 4 feet height
I 5 | Is the list of equipments documented
I 6 | Is the equipments available as per list
I 7 | Is the list of equipments adequate to meet emergency
J | Compressed air
J1 | Is pressure switch available & is in working condition
J2 | Is the pressure vessel tested and approved by agency for safety
J3 | Is the safety certificate available for pressure vessel
J4 | No leakage in pipe line
J5 | Is the compressor located away from work place
K | Chemical storage & handling
K1 | Is the chemical stored at decided location
K2 | Is the list of hazardous chemicals identified and documented
K3 | Is the procedure for handling hazardous chemicals displayed
K4 | Is rubber gloves used for handling chemicals
K5 | Is rubber gloves available
L | Communication
L1 | Is ONE POINT LESSON, KAIZEN done on accident(s)
L2 | Is One Point Lesson, Kaizen displayed on accident location
L3 | Is safety hooter available & in working condition
L4 | Is common communication facility available for conveying safety messages
M | Material storage
M1 | Is the size of pallet/trolley appropriate for material storage
M2 | Is the pallet loaded as per specified loading capacity
M3 | Is the material stored below red line
N | Training
N1 | Is training given to operators for EOT handling
N2 | Is the list of trained persons for fire fighting documented / displayed
N3 | Is training given to operators for EOT handling
N4 | Is training given to operators for machine operation
N5 | Is training given to operators for using safety tools
N6 | Is training given to operators for using tools safely
N7 | Is the training given to operators for handling hazardous chemicals
O | Gas cylinders
O1 | Is location decided / fixed for storage for filled/empty gas cylinders
O2 | Is the regulator in working condition
O3 | Is the regulator switched off when not in use
O4 | No leakage observed in storage, handling & use
P | General
P1 | No leakage/ spillage observed for water, oil, materials
P2 | No any leakage from roof
Auditee sign. : |  | Auditor sign.:
Note: 1. O+ is positive observation, NC is non conformance, OI is opportunity for improvement. 2. Use non-conformance report (STPPL/MR/FM/03), if any non-conformity reported.

## Rev. 02
STPPL | Safety Audit Check Sheet |  |  |  |  | STPPL/HRA/FM/16
REV. NO. 02
REV. DATE : 20.11.2021
Zone No. : __________ Auditee : ____________________________________________ |  |  | Auditor(s) : ______________________________________________ Date : _______________
Check List |  | Yes | No | N/A | Observation details | Remarks
A | Safety Considerations
A1 | Is there a safety induction system for all new employees and visitors
A2 | Is there an up to date fire response plan
A3 | Is the fire response plan shared with all employee
A4 | Have adequate staff been designated and trained in fire fighting/emergency/response
A5 | Are fire drills conducted
A6 | Are escape routes clearly marked being followed
A7 | Is emergency lighting provided
A8 | Is there a clearly marked assembly point at a safe distance from hazardous area
A9 | Is housing keeping good in storage areas; shop floor, access?
A10 | Verification of effectiveness of countermeasure on last accidents?
B | Reporting Systems
B1 | Is the Near Miss Reporting System being followed
B2 | Is the Incident Reporting System being followed
C | Work permit system used
C1 | Work permit system employed when guard is to be removed for maintenance operation
C2 | Is there sufficient display of safety instructions, warning, escape routes, etc - suggest any particular / additional display required.
C3 | JSA Conducted (Job safety analysis)
C4 | Mitigation of near miss, JSA finding Safety meeting suggestions etc carried out and recorded
C5 | Noise status
C6 | Is process waste under control
D | RECORDS
D1 | Is there a record of the fire drills/emergency response?
D2 | Record of work permits Issued
E | Machine & safety guards
E1 | Is the machine/equipment guards available
E2 | Is the machine/equipment guards is in working condition
E3 | Is the machine/equipment safety door available
E4 | Is the machine/equipment safety door in working condition
E5 | Is the moving parts mechanism having guard
E6 | Is the machine heaters covered
E7 | Is the safety guards firmly fixed to the machine/equipment
E8 | No tools used are worn out
E9 | No clamps are worn out
E10 | No worn out in nuts
E11 | No worn out in bolts
E12 | No worn out in spacers
E13 | No wornout on fixed/moving parts /loose/cracked
E14 | No noise /vibrations/sound observed
E15 | M/c drawing, manuals, etc readily available
F | Safety switches
F1 | Is the limit switch available
F2 | Is the limit switches in working condition
F3 | Is emergency switch available
F4 | Is emergency is in working condition
F5 | Does the machine/equipment stop when emergency switch is operated/depressed
F6 | Is the limit/distances set on safety door
F7 | Is the limit to be set documented
G | Material handling equipment
G1 | Is carrying capacity mentioned on pallet truck / trolley
G2 | Is crane capacity mentioned / marked on crane
G3 | Is the load carrying capacity tested
G4 | is the test certificate available
G5 | Is the testing frequency decided & documented
H | Electrical safety
H1 | Is the machine / equipment connected for earthling
H2 | No wire open in panel / distribution box
H3 | Is ON, OFF indication / position marked on switches
H4 | No material stored near / on panels/DB
H5 | No spark observed during machine operation/idle condition
H6 | Is wire joined firmly with connector
H7 | Is motor is connected to Earthing
H8 | Is ovens / dehumidifiers connected to earthling
H9 | No connector / switches open / naked / broken
H10 | LOTO system implemented (log out/tag out)
I | Fire fighting equipment
I 1 | Is the status of maintenance mentioned /marked on equipment
I 2 | Is the equipment accessible for maintenance / removal easily
I 3 | Is the list of equipment available in security office
I 4 | Is the fire fighting equipment fixed at 4 feet height
I 5 | Is the list of equipments documented
I 6 | Is the equipments available as per list
I 7 | Is the list of equipments adequate to meet emergency
J | Compressed air
J1 | Is pressure switch available & is in working condition
J2 | Is the pressure vessel tested and approved by agency for safety
J3 | Is the safety certificate available for pressure vessel
J4 | No leakage in pipe line
J5 | Is the compressor located away from work place
K | Chemical storage & handling
K1 | Is the chemical stored at decided location
K2 | Is the list of hazardous chemicals identified and documented
K3 | Is the procedure for handling hazardous chemicals displayed
K4 | Is rubber gloves used for handling chemicals
K5 | Is rubber gloves available
L | Communication
L1 | Is ONE POINT LESSON, KAIZEN done on accident(s)
L2 | Is One Point Lesson, Kaizen displayed on accident location
L3 | Is safety hooter available & in working condition
L4 | Is common communication facility available for conveying safety messages
M | Material storage
M1 | Is the size of pallet/trolley appropriate for material storage
M2 | Is the pallet loaded as per specified loading capacity
M3 | Is the material stored below red line
N | Training
N1 | Is training given to operators for EOT handling
N2 | Is the list of trained persons for fire fighting documented / displayed
N3 | Is training given to operators for EOT handling
N4 | Is training given to operators for machine operation
N5 | Is training given to operators for using safety tools
N6 | Is training given to operators for using tools safely
N7 | Is the training given to operators for handling hazardous chemicals
O | Gas cylinders
O1 | Is location decided / fixed for storage for filled/empty gas cylinders
O2 | Is the regulator in working condition
O3 | Is the regulator switched off when not in use
O4 | No leakage observed in storage, handling & use
P | General
P1 | No leakage/ spillage observed for water, oil, materials
P2 | No any leakage from roof
Auditee sign. : |  | Auditor sign.:
Note: 1. O+ is positive observation, NC is non conformance, OI is opportunity for improvement. 2. Use non-conformance report (STPPL/MR/FM/03), if any non-conformity reported.
Revision history
Sr. No. | Change description | Existing rev. no./dt. |  |  | Revised rev. no./dt. | Initiated by | Approved by
1 | Point E10 added as - Verification of effectiveness of countermeasure on last accidents? | 01/02.06.2021 |  |  | 02 / 20.11.2021 | ZM Hapse | RU Bhutekar

## Rev 03
STPPL | Safety Audit Check Sheet |  |  |  |  | STPPL/HRA/FM/16
REV. NO. 03
REV. DATE : 06.02.2023
Zone No. : __________ Auditee : ____________________________________________ |  |  | Auditor(s) : ______________________________________________ Date : _______________
Check List |  | Yes | No | N/A | Observation details | Remarks
A | Safety Considerations
A1 | Is there a safety induction system for all new employees and visitors
A2 | Is there an up to date fire response plan
A3 | Is the fire response plan shared with all employee
A4 | Have adequate staff been designated and trained in fire fighting/emergency/response
A5 | Are fire drills conducted
A6 | Are escape routes clearly marked being followed
A7 | Is emergency lighting provided
A8 | Is there a clearly marked assembly point at a safe distance from hazardous area
A9 | Is housing keeping good in storage areas; shop floor, access?
A10 | Verification of effectiveness of countermeasure on last accidents?
B | Reporting Systems
B1 | Is the Near Miss Reporting System being followed
B2 | Is the Incident Reporting System being followed
C | Work permit system used
C1 | Work permit system employed when guard is to be removed for maintenance operation
C2 | Is there sufficient display of safety instructions, warning, escape routes, etc - suggest any particular / additional display required.
C3 | JSA Conducted (Job safety analysis)
C4 | Mitigation of near miss, JSA finding Safety meeting suggestions etc carried out and recorded
C5 | Noise status
C6 | Is process waste under control
D | RECORDS
D1 | Is there a record of the fire drills/emergency response?
D2 | Record of work permits Issued
E | Machine & safety guards
E1 | Is the machine/equipment guards available
E2 | Is the machine/equipment guards is in working condition
E3 | Is the machine/equipment safety door available
E4 | Is the machine/equipment safety door in working condition
E5 | Is the moving parts mechanism having guard
E6 | Is the machine heaters covered
E7 | Is the safety guards firmly fixed to the machine/equipment
E8 | No tools used are worn out
E9 | No clamps are worn out
E10 | No worn out in nuts
E11 | No worn out in bolts
E12 | No worn out in spacers
E13 | No wornout on fixed/moving parts /loose/cracked
E14 | No noise /vibrations/sound observed
E15 | M/c drawing, manuals, etc readily available
F | Safety switches
F1 | Is the limit switch available
F2 | Is the limit switches in working condition
F3 | Is emergency switch available
F4 | Is emergency is in working condition
F5 | Does the machine/equipment stop when emergency switch is operated/depressed
F6 | Is the limit/distances set on safety door
F7 | Is the limit to be set documented
G | Material handling equipment
G1 | Is carrying capacity mentioned on pallet truck / trolley
G2 | Is crane capacity mentioned / marked on crane
G3 | Is the load carrying capacity tested
G4 | is the test certificate available
G5 | Is the testing frequency decided & documented
H | Electrical safety
H1 | Is the machine / equipment connected for earthling
H2 | No wire open in panel / distribution box
H3 | Is ON, OFF indication / position marked on switches
H4 | No material stored near / on panels/DB
H5 | No spark observed during machine operation/idle condition
H6 | Is wire joined firmly with connector
H7 | Is motor is connected to Earthing
H8 | Is ovens / dehumidifiers connected to earthling
H9 | No connector / switches open / naked / broken
H10 | LOTO system implemented (log out/tag out)
I | Fire fighting equipment
I 1 | Is the status of maintenance mentioned /marked on equipment
I 2 | Is the equipment accessible for maintenance / removal easily
I 3 | Is the list of equipment available in security office
I 4 | Is the fire fighting equipment fixed at 4 feet height
I 5 | Is the list of equipments documented
I 6 | Is the equipments available as per list
I 7 | Is the list of equipments adequate to meet emergency
J | Compressed air
J1 | Is pressure switch available & is in working condition
J2 | Is the pressure vessel tested and approved by agency for safety
J3 | Is the safety certificate available for pressure vessel
J4 | No leakage in pipe line
J5 | Is the compressor located away from work place
K | Chemical storage & handling
K1 | Is the chemical stored at decided location
K2 | Is the list of hazardous chemicals identified and documented
K3 | Is the procedure for handling hazardous chemicals displayed
K4 | Is rubber gloves used for handling chemicals
K5 | Is rubber gloves available
L | Communication
L1 | Is ONE POINT LESSON, KAIZEN done on accident(s)
L2 | Is One Point Lesson, Kaizen displayed on accident location
L3 | Is safety hooter available & in working condition
L4 | Is common communication facility available for conveying safety messages
M | Material storage
M1 | Is the size of pallet/trolley appropriate for material storage
M2 | Is the pallet loaded as per specified loading capacity
M3 | Is the material stored below red line
N | Training
N1 | Is training given to operators for EOT handling
N2 | Is the list of trained persons for fire fighting documented / displayed
N3 | Is training given to operators for EOT handling
N4 | Is training given to operators for machine operation
N5 | Is training given to operators for using safety tools
N6 | Is training given to operators for using tools safely
N7 | Is the training given to operators for handling hazardous chemicals
O | Gas cylinders
O1 | Is location decided / fixed for storage for filled/empty gas cylinders
O2 | Is the regulator in working condition
O3 | Is the regulator switched off when not in use
O4 | No leakage observed in storage, handling & use
P | General
P1 | No leakage/ spillage observed for water, oil, materials
P2 | No any leakage from roof
Auditee sign. : |  | Auditor sign.:
Note: 1. O+ is positive observation, NC is non conformance, OI is opportunity for improvement. 2. Use non-conformance report (STPPL/MR/FM/03), if any non-conformity reported.
Review Date:- 06.02.2023 Review Due on:- 01.02.2024
Revision history
Sr. No. | Change description | Existing rev. no./dt. |  |  | Revised rev. no./dt. | Initiated by | Approved by
1 | Point E10 added as - Verification of effectiveness of countermeasure on last accidents? | 01/02.06.2021 |  |  | 02 / 20.11.2021 | ZM Hapse | RU Bhutekar
2 | Review date row added and logo changed | 02 / 20.11.2021 |  |  | 03/ 06.02.2023 | C.khose | R.U.Bhutekar

## Rev 03 (2)
STPPL | Safety Audit Check Sheet |  |  |  |  | STPPL/HRA/FM/16
REV. NO. 03
REV. DATE : 01.02.2024
Zone No. : __________ Auditee : ____________________________________________ |  |  | Auditor(s) : ______________________________________________ Date : _______________
Check List |  | Yes | No | N/A | Observation details | Remarks
A | Safety Considerations
A1 | Is there a safety induction system for all new employees and visitors
A2 | Is there an up to date fire response plan
A3 | Is the fire response plan shared with all employee
A4 | Have adequate staff been designated and trained in fire fighting/emergency/response
A5 | Are fire drills conducted
A6 | Are escape routes clearly marked being followed
A7 | Is emergency lighting provided
A8 | Is there a clearly marked assembly point at a safe distance from hazardous area
A9 | Is housing keeping good in storage areas; shop floor, access?
A10 | Verification of effectiveness of countermeasure on last accidents?
B | Reporting Systems
B1 | Is the Near Miss Reporting System being followed
B2 | Is the Incident Reporting System being followed
C | Work permit system used
C1 | Work permit system employed when guard is to be removed for maintenance operation
C2 | Is there sufficient display of safety instructions, warning, escape routes, etc - suggest any particular / additional display required.
C3 | JSA Conducted (Job safety analysis)
C4 | Mitigation of near miss, JSA finding Safety meeting suggestions etc carried out and recorded
C5 | Noise status
C6 | Is process waste under control
D | RECORDS
D1 | Is there a record of the fire drills/emergency response?
D2 | Record of work permits Issued
E | Machine & safety guards
E1 | Is the machine/equipment guards available
E2 | Is the machine/equipment guards is in working condition
E3 | Is the machine/equipment safety door available
E4 | Is the machine/equipment safety door in working condition
E5 | Is the moving parts mechanism having guard
E6 | Is the machine heaters covered
E7 | Is the safety guards firmly fixed to the machine/equipment
E8 | No tools used are worn out
E9 | No clamps are worn out
E10 | No worn out in nuts
E11 | No worn out in bolts
E12 | No worn out in spacers
E13 | No wornout on fixed/moving parts /loose/cracked
E14 | No noise /vibrations/sound observed
E15 | M/c drawing, manuals, etc readily available
F | Safety switches
F1 | Is the limit switch available
F2 | Is the limit switches in working condition
F3 | Is emergency switch available
F4 | Is emergency is in working condition
F5 | Does the machine/equipment stop when emergency switch is operated/depressed
F6 | Is the limit/distances set on safety door
F7 | Is the limit to be set documented
G | Material handling equipment
G1 | Is carrying capacity mentioned on pallet truck / trolley
G2 | Is crane capacity mentioned / marked on crane
G3 | Is the load carrying capacity tested
G4 | is the test certificate available
G5 | Is the testing frequency decided & documented
H | Electrical safety
H1 | Is the machine / equipment connected for earthling
H2 | No wire open in panel / distribution box
H3 | Is ON, OFF indication / position marked on switches
H4 | No material stored near / on panels/DB
H5 | No spark observed during machine operation/idle condition
H6 | Is wire joined firmly with connector
H7 | Is motor is connected to Earthing
H8 | Is ovens / dehumidifiers connected to earthling
H9 | No connector / switches open / naked / broken
H10 | LOTO system implemented (log out/tag out)
I | Fire fighting equipment
I 1 | Is the status of maintenance mentioned /marked on equipment
I 2 | Is the equipment accessible for maintenance / removal easily
I 3 | Is the list of equipment available in security office
I 4 | Is the fire fighting equipment fixed at 4 feet height
I 5 | Is the list of equipments documented
I 6 | Is the equipments available as per list
I 7 | Is the list of equipments adequate to meet emergency
J | Compressed air
J1 | Is pressure switch available & is in working condition
J2 | Is the pressure vessel tested and approved by agency for safety
J3 | Is the safety certificate available for pressure vessel
J4 | No leakage in pipe line
J5 | Is the compressor located away from work place
K | Chemical storage & handling
K1 | Is the chemical stored at decided location
K2 | Is the list of hazardous chemicals identified and documented
K3 | Is the procedure for handling hazardous chemicals displayed
K4 | Is rubber gloves used for handling chemicals
K5 | Is rubber gloves available
L | Communication
L1 | Is ONE POINT LESSON, KAIZEN done on accident(s)
L2 | Is One Point Lesson, Kaizen displayed on accident location
L3 | Is safety hooter available & in working condition
L4 | Is common communication facility available for conveying safety messages
M | Material storage
M1 | Is the size of pallet/trolley appropriate for material storage
M2 | Is the pallet loaded as per specified loading capacity
M3 | Is the material stored below red line
N | Training
N1 | Is training given to operators for EOT handling
N2 | Is the list of trained persons for fire fighting documented / displayed
N3 | Is training given to operators for EOT handling
N4 | Is training given to operators for machine operation
N5 | Is training given to operators for using safety tools
N6 | Is training given to operators for using tools safely
N7 | Is the training given to operators for handling hazardous chemicals
O | Gas cylinders
O1 | Is location decided / fixed for storage for filled/empty gas cylinders
O2 | Is the regulator in working condition
O3 | Is the regulator switched off when not in use
O4 | No leakage observed in storage, handling & use
P | General
P1 | No leakage/ spillage observed for water, oil, materials
P2 | No any leakage from roof
Auditee sign. : |  | Auditor sign.:
Note: 1. O+ is positive observation, NC is non conformance, OI is opportunity for improvement. 2. Use non-conformance report (STPPL/MR/FM/03), if any non-conformity reported.
Review Date:- 01.02.2024 Review Due on:- 01.02.2025
Revision history
Sr. No. | Change description | Existing rev. no./dt. |  |  | Revised rev. no./dt. | Initiated by | Approved by
1 | Point E10 added as - Verification of effectiveness of countermeasure on last accidents? | 01/02.06.2021 |  |  | 02 / 20.11.2021 | ZM Hapse | RU Bhutekar
2 | Review date row added and logo changed | 02 / 20.11.2021 |  |  | 03/ 06.02.2023 | C.khose | R.U.Bhutekar
3 | No change, Yearly document revision | 03/ 06.02.2023 |  |  | 03/ 01.02.2024 | A.Deshmukh

## Rev 03 (3)
STPPL | Safety Audit Check Sheet |  |  |  |  | STPPL/HRA/FM/16
REV. NO. 03
REV. DATE : 01.02.2025
Zone No. : __________ Auditee : ____________________________________________ |  |  | Auditor(s) : ______________________________________________ Date : _______________
Check List |  | Yes | No | N/A | Observation details | Remarks
A | Safety Considerations
A1 | Is there a safety induction system for all new employees and visitors
A2 | Is there an up to date fire response plan
A3 | Is the fire response plan shared with all employee
A4 | Have adequate staff been designated and trained in fire fighting/emergency/response
A5 | Are fire drills conducted
A6 | Are escape routes clearly marked being followed
A7 | Is emergency lighting provided
A8 | Is there a clearly marked assembly point at a safe distance from hazardous area
A9 | Is housing keeping good in storage areas; shop floor, access?
A10 | Verification of effectiveness of countermeasure on last accidents?
B | Reporting Systems
B1 | Is the Near Miss Reporting System being followed
B2 | Is the Incident Reporting System being followed
C | Work permit system used
C1 | Work permit system employed when guard is to be removed for maintenance operation
C2 | Is there sufficient display of safety instructions, warning, escape routes, etc - suggest any particular / additional display required.
C3 | JSA Conducted (Job safety analysis)
C4 | Mitigation of near miss, JSA finding Safety meeting suggestions etc carried out and recorded
C5 | Noise status
C6 | Is process waste under control
D | RECORDS
D1 | Is there a record of the fire drills/emergency response?
D2 | Record of work permits Issued
E | Machine & safety guards
E1 | Is the machine/equipment guards available
E2 | Is the machine/equipment guards is in working condition
E3 | Is the machine/equipment safety door available
E4 | Is the machine/equipment safety door in working condition
E5 | Is the moving parts mechanism having guard
E6 | Is the machine heaters covered
E7 | Is the safety guards firmly fixed to the machine/equipment
E8 | No tools used are worn out
E9 | No clamps are worn out
E10 | No worn out in nuts
E11 | No worn out in bolts
E12 | No worn out in spacers
E13 | No wornout on fixed/moving parts /loose/cracked
E14 | No noise /vibrations/sound observed
E15 | M/c drawing, manuals, etc readily available
F | Safety switches
F1 | Is the limit switch available
F2 | Is the limit switches in working condition
F3 | Is emergency switch available
F4 | Is emergency is in working condition
F5 | Does the machine/equipment stop when emergency switch is operated/depressed
F6 | Is the limit/distances set on safety door
F7 | Is the limit to be set documented
G | Material handling equipment
G1 | Is carrying capacity mentioned on pallet truck / trolley
G2 | Is crane capacity mentioned / marked on crane
G3 | Is the load carrying capacity tested
G4 | is the test certificate available
G5 | Is the testing frequency decided & documented
H | Electrical safety
H1 | Is the machine / equipment connected for earthling
H2 | No wire open in panel / distribution box
H3 | Is ON, OFF indication / position marked on switches
H4 | No material stored near / on panels/DB
H5 | No spark observed during machine operation/idle condition
H6 | Is wire joined firmly with connector
H7 | Is motor is connected to Earthing
H8 | Is ovens / dehumidifiers connected to earthling
H9 | No connector / switches open / naked / broken
H10 | LOTO system implemented (log out/tag out)
I | Fire fighting equipment
I 1 | Is the status of maintenance mentioned /marked on equipment
I 2 | Is the equipment accessible for maintenance / removal easily
I 3 | Is the list of equipment available in security office
I 4 | Is the fire fighting equipment fixed at 4 feet height
I 5 | Is the list of equipments documented
I 6 | Is the equipments available as per list
I 7 | Is the list of equipments adequate to meet emergency
J | Compressed air
J1 | Is pressure switch available & is in working condition
J2 | Is the pressure vessel tested and approved by agency for safety
J3 | Is the safety certificate available for pressure vessel
J4 | No leakage in pipe line
J5 | Is the compressor located away from work place
K | Chemical storage & handling
K1 | Is the chemical stored at decided location
K2 | Is the list of hazardous chemicals identified and documented
K3 | Is the procedure for handling hazardous chemicals displayed
K4 | Is rubber gloves used for handling chemicals
K5 | Is rubber gloves available
L | Communication
L1 | Is ONE POINT LESSON, KAIZEN done on accident(s)
L2 | Is One Point Lesson, Kaizen displayed on accident location
L3 | Is safety hooter available & in working condition
L4 | Is common communication facility available for conveying safety messages
M | Material storage
M1 | Is the size of pallet/trolley appropriate for material storage
M2 | Is the pallet loaded as per specified loading capacity
M3 | Is the material stored below red line
N | Training
N1 | Is training given to operators for EOT handling
N2 | Is the list of trained persons for fire fighting documented / displayed
N3 | Is training given to operators for EOT handling
N4 | Is training given to operators for machine operation
N5 | Is training given to operators for using safety tools
N6 | Is training given to operators for using tools safely
N7 | Is the training given to operators for handling hazardous chemicals
O | Gas cylinders
O1 | Is location decided / fixed for storage for filled/empty gas cylinders
O2 | Is the regulator in working condition
O3 | Is the regulator switched off when not in use
O4 | No leakage observed in storage, handling & use
P | General
P1 | No leakage/ spillage observed for water, oil, materials
P2 | No any leakage from roof
Auditee sign. : |  | Auditor sign.:
Note: 1. O+ is positive observation, NC is non conformance, OI is opportunity for improvement. 2. Use non-conformance report (STPPL/MR/FM/03), if any non-conformity reported.
Review Date:- 01.02.2025 Review Due on:- 01.02.2026
Revision history
Sr. No. | Change description | Existing rev. no./dt. |  |  | Revised rev. no./dt. | Initiated by | Approved by
1 | Point E10 added as - Verification of effectiveness of countermeasure on last accidents? | 01/02.06.2021 |  |  | 02 / 20.11.2021 | ZM Hapse | RU Bhutekar
2 | Review date row added and logo changed | 02 / 20.11.2021 |  |  | 03/ 06.02.2023 | C.khose | R.U.Bhutekar
3 | No change, Yearly document revision | 03/ 06.02.2023 |  |  | 03/ 01.02.2024 | A.Deshmukh | R.U.Bhutekar
4 | No change, Yearly document revision | 03/ 01.02.2024 |  |  | 03/ 01.02.2025 | A.Deshmukh | R.U.Bhutekar