## Rev 05 (3)
STPPL | Standard Operating Procedure |  | Purpose : To standardise the process of calibration. |  |  |  | STPPL / QA / SOP / 05
| Title : Standard Operating Procedure for calibration |  | Scope : All measuring instruments, monitoring equipments, gauges, jigs & fixtures (Including employee owned equipment, customer owned equipment or on-site supplier owned equipment). |  |  |  | Rev. No. : 05
Rev. Date : 01.02.2025
Department : Quality Assurance | [6 empty] | Page : 01 of 03
Step No. | Operation / Activity Description | Means/Device | When? | Record / Document | Responsibility | Reaction Plan | Photograph / Sketch, if applicable
1 | Prepare, review & approve the master list of all Measuring & Monitoring Instrument/Equipments with Q.A department head. | Manual | At the time of receipt/removing the instrument | List of Measuring, Monitoring & Testing Equipments (STPPL/QA/LT/05A, B & C) | Q.A. engineer & Q.A Head | - | -
2 | Prepare plan of calibration for Process control equipment, Measurement & Test equipment. Ensure that there should have minimum half months calibration date difference between specified process control equipments & alternate process control equipments. | Manual | Each time | Plan for Calibration (STPPL/QA/FM/44) List of Control of Temporary Changes for Process Control (STPPL/QA/LT/12) | Q. A. engineer | - | -
3 | a) Take the quotation for calibration from NABL accrediated agencies & ensure scope of agency. b) In case of non availability of appropriate calibration agency (very remote and / or expensive and / or non-feasible) the measuring and monitoring instrument / equipement to be validated / calibrated from instrument / equipment manufacturer / non-NABL agency. In this case of non-accredited laboratory is utilized (for example, but not limited to specialist or integrated equipment, or parameters with no international traceable standard reference, or original equipment manufacturers), we will have the evaluation / audit of the same and ensure that laboratory has been evaluated and meets the requirements of Section 7.1.5.3.1 of IATF 16949. (reference IATF 16949:2016, SI 10 revised & reissued in July 2021). | Manual, Mail, Courier | Each time of Enquiry & in case of activity 3 - b | Quotation, scope of agency, NABL certificate. Evaluation report (STPPL/PUR/FM/04B) | Purchase officer & Q. A. engineer | - | -
4 | Negotiate that quotations through Purchase dept. | Manual | Each time of Enquiry | Quotation | Purchase Officer | If not satisfied go to another agency. | -
5 | After finalization of quotation raise the PO. | Manual | Each time of Enquiry | P.O | Purchase Officer
6 | Send the instruments for calibration on returnable D.C. as per calibration plan. | Manual | Each time | Returnable D.C. (STPPL/STR/FM/04) Plan for Calibration (STPPL/QA/FM/44) | Q. A. engineer | - | -
7 | Receive the calibration reports & instruments along with calibrated stickers on equipments. | Manual | Each time | Calibration Certificate | Q. A. engineer | -
8 | Calibration Date, Calibration Due date and sign. of agency person must be clearly mentioned on calibration stickers. | Manual | Each time | - | Q. A. engineer | If not available properly, communicate with agency.
9 | Verify the calibration certificates with defined acceptance criteria and also check permissible error with Master list of instruments. | Manual | Each time | List of Measuring, Monitoring & Testing Equipments (STPPL/QA/LT/05A, B & C) | Q. A. engineer | - | -
10 | If error is within permissible error /acceptence criteria, then accept the instrument. | Manual | Each time | Calibration Certificate | Q. A. engineer | If the error is not within permissible error scrap it or shift that instrument at that place where its error will be accepted. The same is mentioned on History Records. | -
11 | Stamp verified & sign. on calibration certificate after verification. | Manual | Each time | Calibration Certificate | Q. A. engineer | - | -
12 | Keep the Calibration Certificates in Calibration file on its defined location. | Manual | Each time | - | Q. A. engineer | - | -
13 | Update the calibration history records and calibration plan. | Manual | Each time | Calibration History record (STPPL/QA/FM/09) & Plan for Calibration (STPPL/QA/FM/44) | Q. A. engineer | - | -
14 | Any changes in the calibration activity to be discussed with process owners & M.R prior to implementation. (Acceptence criteria, Calibration frequency, repair of instrument etc). Changes to be reviewed & approved prior to implementation. | Manual | Each time | Minutes of meeting (STPPL/QA/FM/32) | Q . A. Head / M.R | - | -
15 | Ensure that calibration/verification activities and records include the following details - 1. Revisions following engineering changes that impact measurement systems. 2. An assessment of the risk of intended use of product caused by the out-of-specification condition. 3. Notification to the customer if suspect product or material has been shipped. | Manual | Each time | - | Q. A. engineer | - | -
Calibration / Validation of Jig & Fixtures
16 | Prepare, review & approve the List of all Jigs, Fixtures and gauges. | Manual | At the time of receipt/removing the Jig, Fixtures & gauges | List of Jig & Fixtures (STPPL/MLD/LT/13) & list of gauges (STPPL/QA/LT/05C) | Q. A. engineer & Maintenance process owner | - | -
17 | Prepare the annual plan for Jig, Fixture & gauge validation (Every Jig, Fixture & gauge to be covered once in a year minimum). | Manual | Beginning of the year | List of Jig & Fixtures (STPPL/MLD/LT/13) & list of gauges (STPPL/QA/LT/05C) | Q. A. engineer & Maintenance process owner | - | -
18 | Conduct in-house Jig & Fixtures validation activity for perticular dimesions which get measured / checked with the help of jig & fixture. If any dimension mesurement facility not available at in - house then take the help of external measurement lab. | Manual | Each time of Jig, Fixture & gauge Validation | Jig, fixture & gauges validation report | Q. A. engineer & Maintenance process owner | - | -
19 | Monitor & review Jig, fixture & gauge validation plan vs actual status on monthly basis. | Manual | Monthly basis | List of Jig & Fixtures (STPPL/MLD/LT/13) & list of gauges (STPPL/QA/LT/05C) | Q. A. engineer & Maintenance process owner | - | -
Review Date:- 01.02.2025 Review Due on:- 01.02.2026
Revision History :
Sr. | Revision in Document |  | Existing No. | Revised No. | Initiated by | Approved by | Prepared by :
1 | Sr. No. 15 added for calibration/verification activities and records requirement. |  | 00 / 01.06.2017 | 01 / 01.03.2018 | Vaibhav Pawar | R.U.Bhutekar
2 | Sr. No. 05 added for calibration date difference provision between specified process control equipments & alternate process control equipments. |  | 01 / 01.03.2018 | 02 / 17.09.2018 | Sunder Singh | R.U.Bhutekar
3 | Scope of SOP extend for addition of Jig & Fixture validation / calibration.Also step no. 16-19 has been added for describe brief process & review system of Jig & Fixture validation / calibration. |  | 02 / 01.03.2018 | 03 / 25.09.2018 | Prakash Shinde | R.U.Bhutekar | Approved by :
4 | Document reviewed and found ok (no change required), so revision no. remains same and review date changed. |  | 03 / 25.09.2018 | 03 / 18.01.2020 | Sonusingh Rathod | R.U.Bhutekar
5 | Step no.03 revised by adding details of action to be taken in case of the situation of non-availability of appropriate calibration agency (very remote and / or expensive and / or non-feasible). |  | 03 / 18.01.2020 | 04 / 15.09.2021 | Ravi Ranjan | R.U.Bhutekar
6 | Document reviewed and found ok (no change required), so revision no. remains same and review date changed. |  | 04 / 15.09.2021 | 04 / 17.01.2022 | Sonusingh Rathod | R.U.Bhutekar
7 | Review date row added and logo changed |  | 04 / 17.01.2022 | 05 / 02.02.2023 | C. khose | R. U. Bhutekar
8 | Document reviewed and found ok (no change required), so revision no. remains same and review date changed. |  | 05 / 02.02.2023 | 05 / 01.02.2024 | A. Deshmukh | R. U. Bhutekar
9 | Document reviewed and found ok (no change required), so revision no. remains same and review date changed. |  | 05 / 01.02.2024 | 05 / 01.02.2025 | A. Deshmukh | R. U. Bhutekar