## Rev 04 (3)
STPPL | Standard Operating Procedure |  | Purpose : To describe the details of Safety Audit & accident cases handling. |  |  |  | STPPL/HRA/SOP/04
| Title : Procedure for Safety Audit. |  | Scope : Applicable to all factory, machinery, tools, equipments, peoples etc. |  |  |  | Rev. No. :04 Rev. Date : 01.02.2025
Department : HRA | [6 empty] | Page 01 of 02
Step No. | Operation / Activity Description | Means/Device | When? | Record / Document | Responsibility | Reaction Plan | Photograph / Sketch, if applicable
1 | Prepare the Safety Team / Committee. | Manual | Once in a year | Safety Committee (STPPL/HRA/LT/08) | HRA Manager | __ | __
2 | Prepare zone wise annual fire safety audit plan. | Manual | Once in a year | Annual fire safety audit plan (STPPL/HRA/FM/04) | HRA Manager | __ | __
3 | Prepare the fire safety audit schedule & inform to all concern and conduct the audit as per annual plan. | Manual | Three day's prior to safety audit | Fire safety audit schedule (STPPL/HRA/FM/12) | HRA Manager & auditors | __ | __
4 | Audit should be conducted with reference to safety audit checksheet. | Manual | At each time of safety audit | Safety Audit Check sheet (STPPL/HRA/FM/16) | HRA Manager / Auditor | Inform immediately to the top management in case of critical unsafe condition, if any. | __
5 | Observe for any unsafe act or unsafe condition. | Manual | At the time of Safety audit | Safety Audit Check sheet (STPPL/HRA/FM/16) | HRA Manager / Auditor | __ | __
6 | Note down the observations in audit report & non conformities in safety audit observation sheet. | Manual | At the time of Safety audit | Safety Audit Check sheet (STPPL/HRA/FM/16) Safety Audit Observation Sheet (STPPL/HRA/FM/30) | HRA Manager / Auditor | __ | __
7 | Assign the responsibility with target date for necessary corrective action and NCR closure, if any. | Manual | At the time of Safety audit | Safety Audit Check sheet (STPPL/HRA/FM/16) Safety Audit Observation Sheet (STPPL/HRA/FM/30) | HRA Manager / Auditor | __ | __
8 | Monitoring and verification of effectiveness of the corrective action on NCR and NCR closure. | Manual | After safety audit | Safety Audit Check sheet (STPPL/HRA/FM/16) Safety Audit Observation Sheet (STPPL/HRA/FM/30) | HRA Manager / Auditor | __ | __
9 | Safety audit results to be presented / reviewed in MRM meetings. | Manual | At the time of PRM meeting | Minutes of MRM (STPPL/MR/FM/07) | HRA Manager | __ | __
Accident Cases Handling Procedure
10 | Record & monitor organisation current accident (minor/major/fatal) and near miss status. | Manual | Regular Basis | Accident Reporting Register (STPPL/HRA/FM/19) | Safety Chairmen/HRA Manager | __ | __
11 | If any accident (Minor/Major/Fatal) then provide first aid treatment to a injured person. | Manual | Whenever accident happen | ------ | Safety Chairmen/HRA Manager | __ | __
12 | Carry out Why Why analysis for accident & near miss based on accident severity ratio (ASR) & Accident frequency ratio (AFR) for find out root cause of accident. | Manual | Monthly basis | Accident Reporting Register (STPPL/HRA/FM/19) Accident Why Why analysis Sheet (STPPL/HRA/FM/13) | Safety Chairmen/HRA Manager | __ | __
13 | Decide & implement corrective action on root cause of accident and near miss. | Manual | After root cause identification | Accident Reporting Register (STPPL/HRA/FM/19) Accident Why Why analysis Sheet (STPPL/HRA/FM/13) | Safety Chairmen/HRA Manager | __ | __
14 | Effectiveness of the countermeasure of last accidents to be verified. | Manual | During safety audit | Safety Audit Check sheet (STPPL/HRA/FM/16) Safety Audit Observation Sheet (STPPL/HRA/FM/30) | HRA Manager / Auditor | __ | __
15 | Conduct review of accident on monthly basis with top management. | Manual/Mail | Monthly basis | __ | Safety Chairmen/HRA Manager | __ | __
Review Date:- 01.02.2025 Review Due on:- 01.02.2026
Revision History :
Sr. | Revision in Document |  | Existing No. | Revised No. | Initiated by | Approved by | Prepared by :
1 | Step no. 9 revised for record & monitor near miss. |  | 00 / 01.06.2017 | 01 / 01.09.2019 | Hanshika Srivastav | Mr. R.U Bhutekar
2 | Step no. 02 added & step no. 03 revised for audit frequency. |  | 01 / 01.09.2019 | 02 / 02.01.2020 | Sonusingh Rathod | Mr. R.U Bhutekar | Approved by :
3 | Step no. 14 added. |  | 02 / 02.01.2020 | 03 / 20.11.2021 | Z.M. Hapse | Mr. R.U Bhutekar
4 | Review date row added and logo changed |  | 03 / 20.11.2021 | 04 / 06.02.2023 | C. Khose | Mr. R.U Bhutekar
5 | Document reviewed and found ok (no change required), so revision no. remains same and review date changed. |  | 04 / 06.02.2023 | 04 / 01.02.2024 | A. Deshmukh | Mr. R.U Bhutekar
6 | Document reviewed and found ok (no change required), so revision no. remains same and review date changed. |  | 04 / 01.02.2024 | 04 / 01.02.2025 | A. Deshmukh | Mr. R.U Bhutekar